**MM-EN900LCD** ENSPIRE 900VA STAND-BY UPS WITH LCD

* Apparent Output Power 900VA
* Active Output Power 500 Watts
* Compact case designLCD front panel display (EN750LCD, EN900LCD)
* USB communications
* Hot-swappable batteries
* Easy battery access
* RJ11/45 Network/Phone/Fax protection
* 3-year limited warranty (electronics) 2-year warranty (batteries)
* RoHS 2 compliant
* Energy Star certified
* Transformer-friendly receptacles
* DC startup capability
* Independent battery bypass
* Built-in self-diagnostics testing
* Audio & visual alarms
* Automatically saves and shuts down unfinishedapplications
* Gracefully powers down your PC during extendedblackouts
* Provides comprehensive monitoring capabilities
* Integrates into SNMP network (when connected toa computer via USB port)
* Free download at minutemanups.com/sentryhd
* UPS status and condition
* Battery capacity bar graph
* Estimated runtime AC and DC modes
* Load capacity bar graph
* Warning / Fault icons