**MM-MMS664S** Slimline 6 Outlet Surge Strip, 1080J

* Slimline Series 6 Outlet Surge Suppressor
* Six grounded outlets
* High visibility green LED protection indicator
* Attractive and functional low-profile design
* UL 1449, 1363 certified
* $75,000 connected equipment protection from Minuteman
* Electrical Rating: 15A, 120V, 1800 Watts
* Joule Rating: 1080
* Switch/Circuit Breaker: 2 position on/off switch/15A AC circuit breaker
* UL Clamping Voltage: 400V
* Maximum Peak Current: 72,000A
* 4ft power cord