**MM-OEPD815HV** 15 Amp, 8 Outlet Power Distribution Unit

* 15 Amp, 8 Outlet Power Distribution Unit
* Rackmount and 0U brackets included
* Unit can be mounted vertically or horizontally
* UL 60950-1 listed
* 2 5-15R front outlets
* 6 5-15R rear outlets
* Maximum Input: 15 amps
* Voltage in/out: 120V/120V
* Maximum Output: 12 amps per outlet
* Input Plug Type: 5-15P
* Power On/Off LED
* Frequency 50/60Hz