**MM-EN350** ENSPIRE 350VA STAND-BY UPS

* Enspire EN350 is a 350VA/200W 120 VAC stand-by UPS designed for desktop, floor or wall mounting.
* Compact case design
* Hot-swappable batteries
* Tool-less battery access
* RJ11/45 Network/Phone/Fax protection
* 3-year limited warranty (electronics) 2-year warranty (batteries)
* RoHS 2 compliant
* Energy Star certified
* Transformer-friendly receptacles
* DC startup capability
* Independent battery bypass
* Built-in self-diagnostics testing
* Audio & visual alarms
* Device type: Uninterruptible Power Supply
* Input plug type: 5-15P 5-15P
* Input voltage: 120
* Output voltage: 120
* Number of fully protected outlets: 4 (5-15R) 5-15R
* Number of surge protected only outlets: 4 (5-15R) 5-15R
* Phone / modem (RJ-11) protection? Yes
* Network (RJ-45) protection? Yes
* No. of serial (DB-9) ports: 0
* No. of dry contact ports: 0
* USB port: No