**MM-EP1000LCD** ENTREPID BATTERY BACKUP 1000VA 600W

* 1000VA Line Interactive Tower UPS
* Six battery/surge outlets and 2 surge-only outlets (5-15R)
* Phone/fax/network surge protection
* Compact form factor
* LCD status display
* Monitor and manage via USB and included SentryHD software
* Efficient automatic voltage regulation hardware
* 3 year warranty on electronics and 2 year warranty on batteries
* 1000VA/600 Watts
* Surge Protection: 320 joules
* Full Load Runtime: 3 minutes
* Half-Load Runtime: 13 minutes
* Hot swappable batteries
* Battery Module: BM0061
* Applications: PCs/workstations, security peripherals, sever/network