**MM-MMS686SCT** Slimline 8 Outlet Surge Strip, 3420J

* Slimline Series 8 Outlet Surge Suppressor
* Eight grounded outlets
* Three transformer spaced outlets
* Phone/fax/modem/coax protection
* High visibility green LED protection indicator
* Attractive and functional low-profile design
* UL 1449, UL 1363, UL 452, UL 497A, UL 1492, certified
* $200,000 connected equipment protection from Minuteman
* Electrical Rating: 15A, 120V, 1800 Watts
* Joule Rating: 3420
* Switch/Circuit Breaker: 2 position on/off switch/15A AC circuit breaker
* UL Clamping Voltage: 400V
* Maximum Peak Current: 20,400A
* 6ft power cord