**MM-OEPD1020HV** 20 Amp Power Distribution Unit

* 20 Amp, 10 Outlet Power Distribution Unit
* Rackmount and 0U brackets included
* Unit can be mounted vertically or horizontally
* Listed at UL 60950-1 standards
* (2) 5-15/20R front outlets
* (8) 5-15/20R rear outlets
* Maximum Input: 20 Amps
* Voltage In/Out: 120V/120V
* Maximum Output: 16 Amps per outlet
* Input Plug Type: 5-20P
* Power On/Off LED
* Frequency 50/60Hz