**MM-OES1015HV** 15 Amp, 10 Outlet Surge-Protected PDU

* 15Amp, 10 Outlet Surge Protected Power Distribution Unit
* Rackmount power strip, ideal for use in low voltage data racks and cabinets
* Surge protection included
* Rackmount and 0U brackets included
* 15 foot power cord
* Mount vertically or horizontally
* 2 5-15R front outlets
* 8 5-15R rear outlets
* Maximum Input: 15 Amps
* Voltage In/Out: 120V/120V
* Maximum Output: 12 Amps per outlet
* Input Plug Type: 5-15P
* Power on/off LED
* Frequency 50/60Hz